CAL-FN-C

CAL-FN-C, Calibration Standard Termination, (F) N - Combination Open-Short Load

Bird CAL-Series, Calibration Standard Terminations (or Calibration Combos) are rugged, reliable and easy to use 1.0 watt, DC - 6.0 GHz precision quality terminations are available is a variety of connector combinations.

· Precision Quality

· Easy to Use

· Rugged

· Reliable


product specifications:

Item No

CAL-FN-C

Item Name

Calibration Standard Termination, (F) N

Impedance Ω

50

Return Loss

-42 dB at DC - 2.5 Ghz; -38 dB at 2.5 - 6.0 GHz

Frequency Range

DC to 6.0 GHz

Finish

Brass/Nickel

Power Ratings

1.0 W

Connectors

N (F)

Inner Conductor

Beryllium Copper/Silver

Outer Conductor

Brass/Silver

