CAL-MN-C

DC-6 GHZ PRECISION N-MALE CALIBRATION OPEN/SHORT/LOAD

| Impedance | 50 ohms |
| --- | --- |
| Return Loss | -40 dB @ DC-2.5 GHz ¦ -38 dB @ 2.5-6.0 GHz |
| Frqeuency Range | DC to 6 GHz |
| Finish | Brass ¦ Nickel |
| Power Rating | 1 W |
| Connector | N (M) |
| Inner Conductor | Beryllium Copper/Gold |
| Outer Conductor | Brass/Gold |
| Weight | 0.53 lbs |